Instructions for Completing the Permit Application Form

For Industrial Discharge to the Sanitary Sewer

All questions on this form must be answered.  DO NOT LEAVE BLANKS!  If you answer “no” to question #1 in Section E, you may skip to Section I.  Otherwise, complete the entire form.  If any question is not applicable to your facility, please indicate so on the form.  Instructions to some of the questions are given below.

SECTION A:  GENERAL INFORMATION

1.	Enter the facility’s official or legal name.  Do not use a colloquial name.  Give the name of the operator as it is legally referred to.  This may be a person, firm, public organization or any other entity that operates the facility.  This may or may not be the same name as the facility.

2.	Provide the physical location of the facility that is applying for a discharge permit.

3.	Provide the mailing address where correspondence from the Control Authority (either the City or the Trinity River Authority) may be sent.

4.	Provide all the names of the authorized signatories for this facility for the purpose of signing all reports.  The designated authority is defined in federal regulations as:

a.	A responsible corporate officer, if the Industrial User submitting the reports is a corporation.  For the purpose of this paragraph, a responsible corporate officer means:

(i)	a president, secretary, treasurer, or vice-president of the corporation in charge of a principal business function, or any other person who performs similar policy- or decision-making functions for the corporation, or

(ii)		the manager of one or more manufacturing, production, or operation facilities employing more than 250 persons or having gross annual sales or expenditures exceeding $25 million (in second-quarter 1980 dollars), if authority to sign documents has been assigned or delegated to the manager in accordance with corporate procedures.

b.	A general partner or proprietor if the Industrial User submitting the reports is a partnership or sole proprietorship, respectively.

- The principal executive officer or director having responsibility for the

Issue. 06/1998

City of Carrollton, Environmental Services Department

2 of 7 pages

overall operation of the discharging facility if the Industrial User submitting

the reports is a Federal, State, or local governmental entity, or their agents.

d.	A duly authorized representative of the individual designated in paragraph (a), (b), or (c) of this section if:

(I)	the authorization is made in writing by the individual designated in paragraph (a), (b), or (c);

(ii)	the authorization specifies either an individual or a position having responsibility for the overall operation of the facility from which the Industrial Discharge originates, such as the position of plant manager, operator of a well, or well field superintendent, or a position of equivalent responsibility, or having overall responsibility for environmental matters for the company, and

(iii)	the written authorization is submitted to the City.

e.	If an authorization under paragraph (d) of this section is no longer accurate because a different individual or position has responsibility for the overall operation of the facility, or overall responsibility for environmental matters for the company, a new authorization satisfying the requirements of paragraph (d) of this section must be submitted to the City prior to or together with any reports to be signed by an authorized representative.

5.	Provide the name of a person who is thoroughly familiar with the facts reported on this form and who can be contacted by the Control Authority (for example, a plant manager or treatment operator).

SECTION B:  BUSINESS ACTIVITY

- Indicate all operations that occur or will occur at your facility.  If you have any questions regarding how to categorize and/or identify your business activity, contact the Control Authority for technical guidance.

- Give a brief description of a) primary products and/or services; and, b) all             operations at this facility.

- For all processes found on the premises, indicate the Standard Industrial Classifica-

3 of 7 pages

tion (SIC) Code Number, as found in the most recent edition of Standard Industrial

Classification Manual prepared by the Executive Officer of the President, Office of

Management and Budget.  This document is available from the Government Printing Office in either Washington, DC or San Francisco, CA.  Copies of this manual are available at most public libraries.  Additionally, SIC codes can be found on-line at www.census.gov under “North American Industrial Classification System” in the Subjects A-Z section of the website.

4.	List the types of products used and/or produced, giving the common or brand name and the proper or scientific name.  Give the average and maximum amounts produced daily for each operation for the previous calendar year, and the estimated total daily production for this calendar year.  Be sure to specify the daily units of production.  Attach additional pages if necessary.

SECTION C:  WATER SUPPLY

4.	Provide daily average water usage information for the facility.  “Contact cooling water” is water that physically touches process materials in the industrial process.  “Non-contact cooling water” does not come in contact with process materials.  Sanitary water includes only water used in restrooms.  If sanitary flow is not metered, provide an estimate based on 25 gallons per day for each employee.  Plant and equipment washdown includes floor washdown.

SECTION E:  WASTEWATER DISCHARGE INFORMATION

1.	If you answer “no” to this question, skip to Section I; otherwise, complete the remainder of the application.

4.	A schematic flow diagram should be completed and certified for accuracy by a qualified professional.  Assign a sequential reference number to each process, starting with No. 1.  To determine your average daily volume and maximum daily volume of wastewater flow, you may have to read water meters, sewer meters, or make estimates of volumes that are not directly measurable.  An example of a schematic flow diagram is attached to these instructions.

5.	Non-categorical users should report average daily and maximum daily wastewater flows from each process, operation or activity present at the facility.  Categorical users should skip to question 6.

- Categorical users should report average daily and maximum daily wastewater flows from every regulated, unregulated, and dilution process.  A regulated

4 of 7 pages

wastestream  contains  wastewater  from  any  industrial  processes  governed   by

categorical pretreatment standards for certain parameters.  These processes should

me marked in Section B.  Unregulated wastestreams fall outside the scope of these

standards.  Dilution wastestreams  include: sanitary wastewater; boiler blowdown;

noncontact cooling water or blowdown; stormwater streams; demineralizer back-

wash streams;  and process wastestreams  from  certain  industrial   subcategories

exempted by EPA from categorical pretreatment standards.  For further details see

40 CFR 403.6 (e).

7.	Total Toxic Organics (TTO’s)  refer to the sum of the masses or concentrations of specific compounds found in the industrial user’s process discharge.  The individual compounds that make up the TTO value and the minimum reportable quantities differ according to the particular industrial category.  For more information see 40 CFR 405-471.

a.	The published list of Toxic Organics begins on page 11 in Section F of the 		application form.

b.	A Baseline Monitoring Report is submitted by categorical industrial users and indicates the compliance status of the user with the categorical standard for Total Toxic Organics [40 CFR 403.12 (b)].

c.	A Toxic Organic Management Plan is submitted by industrial users in accordance with some categorical pretreatment standards as an alternative to TTO monitoring. It specifies the toxic organic compounds used, the method of disposal, and procedures for assuring that toxic organics do not routinely spill or leak into wastewater discharged to the sanitary sewer.

SECTION H:  FACILITY OPERATIONAL CHARACTERISTICS

6.	Provide a list of all chemicals used (or planned) in the facility’s operations.  Indicate the amounts in daily units.  Avoid the use of trade names of chemicals.  If trade names are used, also provide chemical compounds.  Copies of all available Manufacturer’s Safety Data Sheets (MSDS’s) for all chemicals given must accompany the application.

- A building layout or plant site plan must be completed and certified for accuracy by a qualified and registered professional engineer.  Approved building plans may be substituted.  An arrow showing north, as well as the map scale, must be shown.  All sewer lines and sampling locations must be clearly identified, as well as all sanitary and wastewater drainage plumbing.  Number each process unit discharging

5 of 7 pages

wastewater  to the  public  sewer.   Use  the  same  numbers  that  were  used  in the

schematic   flow  diagram.   An  example  of  this  drawing   is  attached   to    these

instructions.

SECTION I:  SLUG AND SPILL PREVENTION

4.	A Slug Control Plan documents how an industrial user will prevent unexpected wastewater discharges from occurring to the public sewer.  Similarly, a Spill Prevention Plan describes how wastewater will be contained so that an unscheduled discharge is not necessary.  These two documents both help ensure that wastewater of questionable quality does not enter the sewer.

5.	Describe these things:  how the spill occurred; what and how much was spilled; when it happened; where it happened; and if it reached the sewer.  Also, explain what measures were taken to prevent a reoccurrence or limit damage if another spill occurs.

SECTION J:  NONDISCHARGED WASTES

1.	For wastes that are not discharged to the Control Authority’s sewer, indicate the types and amounts that are generated, how it is disposed (for example, incinerated, hauled, etc.), and the location of the disposal.

3.	Environmental permits include air, hazardous waste, underground injection, solid waste, stormwater, and surface water discharge.

SECTION K:  AUTHORIZED SIGNATURES

See question 4, Section A of these instructions for the definition of an Authorized Representative.